{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":35,"n_cols":8,"rows_kept":35,"merged":[[0,0,0,7],[2,0,2,2],[2,3,2,7],[3,0,3,2],[3,3,3,7],[4,0,4,2],[4,3,4,7],[5,0,5,2],[5,3,5,7],[6,0,6,2],[6,3,6,7],[7,0,7,2],[7,3,7,7],[33,0,33,7],[34,0,34,7],[35,3,35,6],[36,3,36,6],[37,3,37,6],[38,3,38,6]],"flags":["formulas_cached_only"]}
["询 价 单"]
[]
["询价单位：深圳市朗坤科技股份有限公司",null,null,"报价单位："]
["联系人及联系方式：余先生  18028712839  ",null,null,"联系人及联系方式："]
["交货地址：深圳市龙岗区坪地街道高桥社区坪桥路2号10楼",null,null,"地址："]
["报价需含13%增值税专用发票",null,null,"时间："]
["需求货物明细，请在三个工作日内报价，逾期不候："]
["报价单需要盖章发至："]
[]
["序号","物料名称","规格型号","单位","数量","单价","金额","备注"]
[1,"ups不间断电源系统","30kva 三进三出 配套40节电池柜","套",1,null,null,"\n机房电力改造 UPS及配套的蓄电池更换"]
[1.1,"UPS 及电池\n拆除","20KAV UPS，40\n节 12V 65AH 电池","个",1]
[1.2,"UPS","30kva 三进三出 配套40节电池柜","个",1,null,null,"参考品牌：英威腾"]
[1.3,"蓄电池","12V 100AH","节",40,null,null,"参考品牌：天能 含搬运，\n含安装"]
[1.4,"电池柜","配套 40 节电池",{"$nulls":4},"利旧"]
[1.5,"电池开关箱","含施耐德 3P/63A\n电池开关","台",1,null,null,"参考品牌：施耐德"]
[1.6,"电池箱配套\n电线","BVR-16mm电池连\n接线及辅材","项",1]
[2,"精密空调系统","30kva 三进三出 配套40节电池柜","套",1,null,null,"机房散热改造 增加精密空调"]
[2.1,"精密空调","12.5KW 上出风，\n下回风，单冷","套",1,null,null,"参考品牌：英威腾 含室外\n机，质保\n三年"]
[2.2,"铜管","液管、气管，含保\n温、支架等辅材","米",45,null,null,"含材料含\n人工"]
[2.3,"延长组件","电磁阀、单向阀","套",1,null,null,"参考品牌：丹佛斯 含材料含\n人工"]
[2.4,"室内机电缆","室内机电缆\n5*4mm","米",10,null,null,"含材料含\n人工"]
[2.5,"电缆","室外机电缆","米",50,null,null,"含材料含\n人工"]
[2.6,"上排水系统","不锈钢排水箱，含两个排水泵，\n一用一备，不锈钢\n水箱 400*400","项",1]
[2.7,"精密空调安\n装费","精密空调开机调试\n及搬运就位","项",1]
[3,"配电改造系统",null,"套",1]
[3.1,"UPS 输出空\n气开关","参考型号 IC65N-63A/3P","个",1,null,null,"参考品牌：施耐德 含材料，\n含安装"]
[3.2,"精密空调开\n关","IC65N-32A/3P","个",1,null,null,"参考品牌：施耐德含材料，\n含安装"]
[3.3,"机柜电源线","RVV-3*6mm2","米",12,null,null,"含材料，\n含安装"]
[3.4,"UPS 输入输\n出电缆","4*16+1*10mm","米",12,null,null,"含材料，\n含安装"]
[3.5,"五金辅材","线耳、胶布、扎带，\n汇流排及线材等","项",1,null,null,"含材料，\n含安装"]
[3.6,"配电改造","UPS 输出单相改为\n三相输出，配电改\n造及人工费","项",1]
["合计",{"$nulls":6},"1+2+3"]
["交期："]
["付款方式："]